Construction Statement –

Backflow prevention device

This statement is to be included with the application for code compliance certificate.

TO:	Christchurch City Council Building Consent Authority

| In respect of building consent number: |  |  | At: (project address) |
| --- | --- | --- | --- |
| BCN/ |  |  |  |

I have been engaged to install a backflow prevention device on the above approved building consent. I hereby certify that the work complies with the building consent and the New Zealand Building Code, I can confirm the following:

| INSTALLATION | Yes | No |
| --- | --- | --- |
| Backflow prevention device is positioned on the boundary as close as possible to the point of supply or water meter | ☐ | ☐ |
| Backflow prevention device is fitted with a line strainer upstream of the valves | ☐ | ☐ |
| Backflow prevention device is protected from frost and damage | ☐ | ☐ |
| Backflow prevention device is accessible for testing and maintenance | ☐ | ☐ |
| Backflow prevention device has been installed by a registered plumber | ☐ | ☐ |
| Has an independently qualified person (IQP) been engaged to test the backflow prevention device installation? | ☐ | ☐ |
| Have photos been taken of the installation and attached to this statement that shows the location of the backflow prevention device and its serial number? | ☐ | ☐ |
| For reduced pressure zone device only |  |  |
| - Has free ventilation to the atmosphere for the relief valve outlet at all times | ☐ | ☐ |
| - Located in an area that is not subject to ponding | ☐ | ☐ |
| - Has the relief drain outlet located not less than 300 mm above the surrounding surface | ☐ | ☐ |
| - Installed horizontally with the relief valve discharge facing vertically down, unless different orientations are specifically recommended by the device manufacturer | ☐ | ☐ |

| Device type (model and hazard) |  | Device serial number |  | Device size (mm) |
| --- | --- | --- | --- | --- |

| Installed by |  | Installation Company |  | Registration number |
| --- | --- | --- | --- | --- |

Certifying Plumber’s Details

Name:

Registration number:

Qualifications:

Address:

Phone numbers:

| work | mobile | home | fax |
| --- | --- | --- | --- |

Email:

I hereby state that the work prescribed in this consent application has been carried out by me or my employee and that the employee holds:

(select one)

| ☐ | A current licence under part 2, subpart 1 of the Plumbers Gasfitters and Drainlayers Act 2006; or |
| --- | --- |
| ☐ | Is an exempt trainee under Section 13 of the Plumbers Gasfitters and Drainlayers Act 2006 and the work done by that trainee is carried out in accordance with a limited certificate issued by the Board to the trainee under section 14 of the Act. |

I also understand that the Christchurch City Council in accepting this construction statement may be relying on it to issue the code compliance certificate at the completion of the building work.

| Signature of Certifying Plumber: | Date: |
| --- | --- |